## Sheet1
Product | Data Sheet | V<sub>DRM</sub> / V<sub>RRM</sub> [V] | T<sub>vj</sub> [°C] max | Housing | Configuration | I<sub>FAVM</sub>/T<sub>C</sub> / I<sub>TAVM</sub>/T<sub>C</sub> [A/°C] @180° el sin | I<sub>FSM</sub> / I<sub>TSM</sub> [A] @10ms, Tvj max | ∫I<sup>2</sup>dt [A<sup>²</sup>s · 10<sup>3</sup>] @10ms, Tvj max | (di<sub>T</sub>/dt)<sub>cr</sub> [A/µs] @DIN IEC 747- 6 | R<sub>thJC</sub> [K/W] @180° el sin max
DZ1100N22K | https://www.infineon.com/dgdl/Infineon-DZ1100N22K-DS-v03_02-EN.pdf?fileId=5546d461464245d3014666d0f4e1611c | 2200 | 150 | Power Block 70 mm | Single Rectifier Diode | 1100/100 | 48000.0 | 8000.0 | - | 0.048
TZ860N16KOF TIM | https://www.infineon.com/dgdl/Infineon-TZ860N16KOF-DS-v03_02-EN.pdf?fileId=5546d461464245d3014666920b4f60e9 | 1600 | 125 | Power Block 70 mm | Single SCR Phase Control | 860/85 | 46000.0 | 8000.0 | 200.0 | 0.042
TZ860N16KOF | https://www.infineon.com/dgdl/Infineon-TZ860N16KOF-DS-v03_02-EN.pdf?fileId=5546d461464245d3014666920b4f60e9 | 1600 | 125 | Power Block 70 mm | Single SCR Phase Control | 860/85 | 46000.0 | 8000.0 | 200.0 | 0.042
DZ1070N22K | https://www.infineon.com/dgdl/Infineon-DZ1070N22K-DS-v03_03-EN.pdf?fileId=5546d461464245d3014666990cf460f1 | 2200 | 150 | Power Block 70 mm | Single Rectifier Diode | 1100/100 | 41000.0 | 6125.0 | - | 0.045
DZ1070N18K | https://www.infineon.com/dgdl/Infineon-DZ1070N18K-DS-v03_02-en_de.pdf?fileId=5546d4614755559a0147a145459a6377 | 1800 | 150 | Power Block 70 mm | Single Rectifier Diode | 1100/100 | 41000.0 | 6125.0 | - | 0.045
DZ1070N28K | https://www.infineon.com/dgdl/Infineon-DZ1070N28K-DS-v03_02-EN.pdf?fileId=5546d461464245d30146669acbfb60f5 | 2800 | 160 | Power Block 70 mm | Single Rectifier Diode | 1070/100 | 35000.0 | 6125.0 | - | 0.045
DZ1070N26K | https://www.infineon.com/dgdl/Infineon-DZ1070N26K-DS-v03_01-EN.pdf?fileId=5546d46259d9a4bf015a219a683a284c | 2600 | 160 | Power Block 70 mm | Single Rectifier Diode | 1070/100 | 35000.0 | 6125.0 | - | 0.045
TZ810N22KOF | https://www.infineon.com/dgdl/Infineon-TZ810N22KOF-DS-v03_02-EN.pdf?fileId=5546d461464245d30146669314a860eb | 2200 | 125 | Power Block 70 mm | Single SCR Phase Control | 819/85 | 35000.0 | 6125.0 | 200.0 | 0.042
TZ810N22KOF TIM | https://www.infineon.com/dgdl/Infineon-TZ810N22KOF-DS-v03_02-EN.pdf?fileId=5546d461464245d30146669314a860eb | 2200 | 125 | Power Block 70 mm | Single SCR Phase Control | 819/85 | 35000.0 | 6125.0 | 200.0 | 0.42
TZ740N22KOF TIM | https://www.infineon.com/dgdl/Infineon-TZ740N-DS-v03_05-EN.pdf?fileId=db3a304412b407950112b42f88224c15 | 2200 | 125 | Power Block 70 mm | Single SCR Phase Control | 819/85 | 30000.0 | 3500.0 | 200.0 | 0.042
TZ800N18KOF TIM | https://www.infineon.com/dgdl/Infineon-TZ800N-DS-v03_06-EN.pdf?fileId=db3a304412b407950112b42f8b8e4c29 | 1800 | 125 | Power Block 70 mm | Single SCR Phase Control | 800/85 | 30000.0 | 4500.0 | 200.0 | 0.042
TZ800N18KOF | https://www.infineon.com/dgdl/Infineon-TZ800N-DS-v03_06-EN.pdf?fileId=db3a304412b407950112b42f8b8e4c29 | 1800 | 125 | Power Block 70 mm | Single SCR Phase Control | 800/85 | 30000.0 | 4500.0 | 200.0 | 0.042
TZ800N16KOF TIM | https://www.infineon.com/dgdl/Infineon-TZ800N-DS-v03_06-EN.pdf?fileId=db3a304412b407950112b42f8b8e4c29 | 1600 | 125 | Power Block 70 mm | Single SCR Phase Control | 800/85 | 30000.0 | 4500.0 | 200.0 | 0.042
TZ800N16KOF | https://www.infineon.com/dgdl/Infineon-TZ800N-DS-v03_06-EN.pdf?fileId=db3a304412b407950112b42f8b8e4c29 | 1600 | 125 | Power Block 70 mm | Single SCR Phase Control | 800/85 | 30000.0 | 4500.0 | 200.0 | 0.042
TZ800N14KOF | https://www.infineon.com/dgdl/Infineon-TZ800N-DS-v03_06-EN.pdf?fileId=db3a304412b407950112b42f8b8e4c29 | 1400 | 125 | Power Block 70 mm | Single SCR Phase Control | 800/85 | 30000.0 | 4500.0 | 200.0 | 0.042
TZ800N12KOF | https://www.infineon.com/dgdl/Infineon-TZ800N-DS-v03_06-EN.pdf?fileId=db3a304412b407950112b42f8b8e4c29 | 1200 | 125 | Power Block 70 mm | Single SCR Phase Control | 800/85 | 30000.0 | 4500.0 | 200.0 | 0.042
DZ950N44K | https://www.infineon.com/dgdl/Infineon-DZ950N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b43061c7502e | 4400 | 150 | Power Block 70 mm | Single Rectifier Diode | 950/100 | 29000.0 | 4205.0 | - | 0.042
DZ950N36K | https://www.infineon.com/dgdl/Infineon-DZ950N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b43061c7502e | 3600 | 150 | Power Block 70 mm | Single Rectifier Diode | 950/100 | 29000.0 | 4205.0 | - | 0.042
TZ740N22KOF | https://www.infineon.com/dgdl/Infineon-TZ740N-DS-v03_05-EN.pdf?fileId=db3a304412b407950112b42f88224c15 | 2200 | 125 | Power Block 70 mm | Single SCR Phase Control | 740/85 | 26500.0 | 3500.0 | 200.0 | 0.042
TZ740N20KOF | https://www.infineon.com/dgdl/Infineon-TZ740N-DS-v03_05-EN.pdf?fileId=db3a304412b407950112b42f88224c15 | 2000 | 125 | Power Block 70 mm | Single SCR Phase Control | 740/85 | 26500.0 | 3500.0 | 200.0 | 0.042
DD710N16K | https://www.infineon.com/dgdl/Infineon-DD710N16K-DS-v03_03-EN.pdf?fileId=5546d461464245d30146668f1b8b60e5 | 1600 | 150 | Power Block 60 mm | Rectifier Diode | 710/100 | 26000.0 | 2420.0 | - | 0.065
TZ630N28KOF | https://www.infineon.com/dgdl/Infineon-TZ630N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f88c54c19 | 2800 | 125 | Power Block 70 mm | Single SCR Phase Control | 630/85 | 23000.0 | 2650.0 | 150.0 | 0.042
TZ630N24KOF | https://www.infineon.com/dgdl/Infineon-TZ630N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f88c54c19 | 2400 | 125 | Power Block 70 mm | Single SCR Phase Control | 630/85 | 23000.0 | 2650.0 | 150.0 | 0.042
TZ630N22KOF | https://www.infineon.com/dgdl/Infineon-TZ630N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f88c54c19 | 2200 | 125 | Power Block 70 mm | Single SCR Phase Control | 630/85 | 23000.0 | 2650.0 | 150.0 | 0.042
DD700N22K | https://www.infineon.com/dgdl/Infineon-DD700N22K-DS-v03_02-EN.pdf?fileId=5546d461464245d30146668db98460e3 | 2200 | 150 | Power Block 60 mm | Rectifier Diode | 700/100 | 21000.0 | 1805.0 | - | 0.065
TT600N16KOF | https://www.infineon.com/dgdl/Infineon-TT600N16KOF-DS-v03_03-EN.pdf?fileId=5546d461464245d301466688b00360e0 | 1600 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 600/85 | 21000.0 | 1531.0 | 200.0 | 0.057999999999999996
TD600N16KOF TIM | https://www.infineon.com/dgdl/Infineon-TT600N16KOF-DS-v03_03-EN.pdf?fileId=5546d461464245d301466688b00360e0 | 1600 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 600/85 | 21000.0 | 1531.0 | 200.0 | 0.057999999999999996
TD600N16KOF | https://www.infineon.com/dgdl/Infineon-TT600N16KOF-DS-v03_03-EN.pdf?fileId=5546d461464245d301466688b00360e0 | 1600 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 600/85 | 21000.0 | 1531.0 | 200.0 | 0.057999999999999996
TZ530N36KOF | https://www.infineon.com/dgdl/Infineon-TZ530N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fdb004e04 | 3600 | 125 | Power Block 70 mm | Single SCR Phase Control | 530/85 | 20000.0 | 2000.0 | 80.0 | 0.045
TZ530N32KOF | https://www.infineon.com/dgdl/Infineon-TZ530N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fdb004e04 | 3200 | 125 | Power Block 70 mm | Single SCR Phase Control | 530/85 | 20000.0 | 2000.0 | 80.0 | 0.045
DD600N18K | https://www.infineon.com/dgdl/Infineon-DD600N-DS-v03_02-EN.pdf?fileId=db3a304412b407950112b42fbcc44d54 | 1800 | 150 | Power Block 60 mm | Rectifier Diode | 600/100 | 19000.0 | 1800.0 | - | 0.078
DZ600N18K | https://www.infineon.com/dgdl/Infineon-DZ600N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b431311153cd | 1800 | 150 | Power Block 50 mm | Single Rectifier Diode | 600/100 | 19000.0 | 1805.0 | - | 0.078
DZ600N16K | https://www.infineon.com/dgdl/Infineon-DZ600N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b431311153cd | 1600 | 150 | Power Block 50 mm | Single Rectifier Diode | 600/100 | 19000.0 | 1805.0 | - | 0.078
DD600N16K | https://www.infineon.com/dgdl/Infineon-DD600N-DS-v03_02-EN.pdf?fileId=db3a304412b407950112b42fbcc44d54 | 1600 | 150 | Power Block 60 mm | Rectifier Diode | 600/100 | 19000.0 | 1800.0 | - | 0.078
DZ600N14K | https://www.infineon.com/dgdl/Infineon-DZ600N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b431311153cd | 1400 | 150 | Power Block 50 mm | Single Rectifier Diode | 600/100 | 19000.0 | 1805.0 | - | 0.078
DD600N14K | https://www.infineon.com/dgdl/Infineon-DD600N-DS-v03_02-EN.pdf?fileId=db3a304412b407950112b42fbcc44d54 | 1400 | 150 | Power Block 60 mm | Rectifier Diode | 600/100 | 19000.0 | 1800.0 | - | 0.078
DD600N12K | https://www.infineon.com/dgdl/Infineon-DD600N-DS-v03_02-EN.pdf?fileId=db3a304412b407950112b42fbcc44d54 | 1200 | 150 | Power Block 60 mm | Rectifier Diode | 600/100 | 19000.0 | 1800.0 | - | 0.078
DZ600N12K | https://www.infineon.com/dgdl/Infineon-DZ600N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b431311153cd | 1200 | 150 | Power Block 50 mm | Single Rectifier Diode | 600/100 | 19000.0 | 1805.0 | - | 0.078
TD520N22KOF | https://www.infineon.com/dgdl/Infineon-TT520N22KOF-DS-v03_01-en_de.pdf?fileId=5546d461464245d3014666905b5960e7 | 2200 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 520/85 | 18000.0 | 1051.0 | 200.0 | 0.057999999999999996
TT520N22KOF | https://www.infineon.com/dgdl/Infineon-TT520N22KOF-DS-v03_01-en_de.pdf?fileId=5546d461464245d3014666905b5960e7 | 2200 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 520/85 | 18000.0 | 1051.0 | 200.0 | 0.057999999999999996
TT500N18KOF | https://www.infineon.com/dgdl/Infineon-TT500N-DS-v03_04-EN.pdf?fileId=db3a30434486a89301448d34d0f7790d | 1800 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 500/85 | 14500.0 | 1051.0 | 200.0 | 0.057999999999999996
TD500N18KOF | https://www.infineon.com/dgdl/Infineon-TT500N-DS-v03_04-EN.pdf?fileId=db3a30434486a89301448d34d0f7790d | 1800 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 500/85 | 14500.0 | 1051.0 | 200.0 | 0.057999999999999996
TZ500N18KOF | https://www.infineon.com/dgdl/Infineon-TZ500N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f8a294c21 | 1800 | 125 | Power Block 50 mm | Single SCR Phase Control | 500/85 | 14500.0 | 1051.0 | 200.0 | 0.065
TZ500N16KOF | https://www.infineon.com/dgdl/Infineon-TZ500N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f8a294c21 | 1600 | 125 | Power Block 50 mm | Single SCR Phase Control | 500/85 | 14500.0 | 1051.0 | 200.0 | 0.065
TT500N16KOF TIM | https://www.infineon.com/dgdl/Infineon-TT500N-DS-v03_04-EN.pdf?fileId=db3a30434486a89301448d34d0f7790d | 1600 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 500/85 | 14500.0 | 1051.0 | 200.0 | 0.057999999999999996
TD500N16KOF | https://www.infineon.com/dgdl/Infineon-TT500N-DS-v03_04-EN.pdf?fileId=db3a30434486a89301448d34d0f7790d | 1600 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 500/85 | 14500.0 | 1051.0 | 200.0 | 0.057999999999999996
TT500N16KOF | https://www.infineon.com/dgdl/Infineon-TT500N-DS-v03_04-EN.pdf?fileId=db3a30434486a89301448d34d0f7790d | 1600 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 500/85 | 14500.0 | 1051.0 | 200.0 | 0.057999999999999996
TD500N16KOF TIM | https://www.infineon.com/dgdl/Infineon-TT500N-DS-v03_04-EN.pdf?fileId=db3a30434486a89301448d34d0f7790d | 1600 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 500/85 | 14500.0 | 1051.0 | 200.0 | 0.057999999999999996
TT500N14KOF | https://www.infineon.com/dgdl/Infineon-TT500N-DS-v03_04-EN.pdf?fileId=db3a30434486a89301448d34d0f7790d | 1400 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 500/85 | 14500.0 | 1051.0 | 200.0 | 0.057999999999999996
TZ500N14KOF | https://www.infineon.com/dgdl/Infineon-TZ500N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f8a294c21 | 1400 | 125 | Power Block 50 mm | Single SCR Phase Control | 500/85 | 14500.0 | 1051.0 | 200.0 | 0.065
TZ500N12KOF | https://www.infineon.com/dgdl/Infineon-TZ500N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f8a294c21 | 1200 | 125 | Power Block 50 mm | Single SCR Phase Control | 500/85 | 14500.0 | 1051.0 | 200.0 | 0.065
TT500N12KOF | https://www.infineon.com/dgdl/Infineon-TT500N-DS-v03_04-EN.pdf?fileId=db3a30434486a89301448d34d0f7790d | 1200 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 500/85 | 14500.0 | 1051.0 | 200.0 | 0.057999999999999996
TD500N12KOF | https://www.infineon.com/dgdl/Infineon-TT500N-DS-v03_04-EN.pdf?fileId=db3a30434486a89301448d34d0f7790d | 1200 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 500/85 | 14500.0 | 1051.0 | 200.0 | 0.057999999999999996
DD540N26K | https://www.infineon.com/dgdl/Infineon-DD540N-DS-v03_10-en_de.pdf?fileId=db3a304412b407950112b42fa11c4ca4 | 2600 | 150 | Power Block 60 mm | Rectifier Diode | 540/100 | 14000.0 | 980.0 | - | 0.078
DZ540N26K | https://www.infineon.com/dgdl/Infineon-DZ540N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f82134bf9 | 2600 | 150 | Power Block 50 mm | Single Rectifier Diode | 540/100 | 14000.0 | 980.0 | - | 0.078
DD540N22K | https://www.infineon.com/dgdl/Infineon-DD540N-DS-v03_10-en_de.pdf?fileId=db3a304412b407950112b42fa11c4ca4 | 2200 | 150 | Power Block 60 mm | Rectifier Diode | 540/100 | 14000.0 | 980.0 | - | 0.078
DZ540N22K | https://www.infineon.com/dgdl/Infineon-DZ540N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f82134bf9 | 2200 | 150 | Power Block 50 mm | Single Rectifier Diode | 540/100 | 14000.0 | 980.0 | - | 0.078
DZ540N20K | https://www.infineon.com/dgdl/Infineon-DZ540N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f82134bf9 | 2000 | 150 | Power Block 50 mm | Single Rectifier Diode | 540/100 | 14000.0 | 980.0 | - | 0.078
TZ600N14KOF | https://www.infineon.com/dgdl/Infineon-TZ600N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f8adc4c25 | 1600 | 125 | Power Block 50 mm | Single SCR Phase Control | 600/85 | 14000.0 | 980.0 | 200.0 | 0.065
TZ600N16KOF | https://www.infineon.com/dgdl/Infineon-TZ600N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f8adc4c25 | 1600 | 125 | Power Block 50 mm | Single SCR Phase Control | 600/85 | 14000.0 | 980.0 | 200.0 | 0.065
TD570N16KOF | https://www.infineon.com/dgdl/Infineon-TT570N-DS-v3_1-en_de.pdf?fileId=db3a304412b407950112b42f96354c4e | 1600 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 570/87 | 14000.0 | 980.0 | 200.0 | 0.057999999999999996
TT570N16KOF | https://www.infineon.com/dgdl/Infineon-TT570N-DS-v3_1-en_de.pdf?fileId=db3a304412b407950112b42f96354c4e | 1600 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 570/87 | 14000.0 | 1531.0 | 200.0 | 0.057999999999999996
TZ600N12KOF | https://www.infineon.com/dgdl/Infineon-TZ600N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f8adc4c25 | 1200 | 125 | Power Block 50 mm | Single SCR Phase Control | 600/85 | 14000.0 | 980.0 | 200.0 | 0.065
DD360N22K | https://www.infineon.com/dgdl/Infineon-DD360N22K-DS-v03_02-en_de.pdf?fileId=5546d461464245d301465bd363e470f5 | 2200 | 150 | Power Block 50 mm | Rectifier Diode | 360/100 | 13000.0 | 550.0 | - | 0.125
TT425N18KOF | https://www.infineon.com/dgdl/Infineon-TT425N-DS-v03_10-en_de.pdf?fileId=db3a304412b407950112b42f7bf84bc9 | 1800 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 425/85 | 12500.0 | 1051.0 | 120.0 | 0.065
TZ425N18KOF | https://www.infineon.com/dgdl/Infineon-TZ425N-DS-v03_03-EN.pdf?fileId=db3a304412b407950112b42f896d4c1d | 1800 | 125 | Power Block 50 mm | Single SCR Phase Control | 425/85 | 12500.0 | 781.0 | 120.0 | 0.078
TD425N18KOF | https://www.infineon.com/dgdl/Infineon-TT425N-DS-v03_10-en_de.pdf?fileId=db3a304412b407950112b42f7bf84bc9 | 1800 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 425/85 | 12500.0 | 781.0 | 120.0 | 0.065
TZ425N16KOF | https://www.infineon.com/dgdl/Infineon-TZ425N-DS-v03_03-EN.pdf?fileId=db3a304412b407950112b42f896d4c1d | 1600 | 125 | Power Block 50 mm | Single SCR Phase Control | 425/85 | 12500.0 | 781.0 | 120.0 | 0.078
TD425N16KOF | https://www.infineon.com/dgdl/Infineon-TT425N-DS-v03_10-en_de.pdf?fileId=db3a304412b407950112b42f7bf84bc9 | 1600 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 425/85 | 12500.0 | 781.0 | 120.0 | 0.065
TT425N16KOF | https://www.infineon.com/dgdl/Infineon-TT425N-DS-v03_10-en_de.pdf?fileId=db3a304412b407950112b42f7bf84bc9 | 1600 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 425/85 | 12500.0 | 1051.0 | 120.0 | 0.065
TZ425N14KOF | https://www.infineon.com/dgdl/Infineon-TZ425N-DS-v03_03-EN.pdf?fileId=db3a304412b407950112b42f896d4c1d | 1400 | 125 | Power Block 50 mm | Single SCR Phase Control | 425/85 | 12500.0 | 781.0 | 120.0 | 0.078
TT425N14KOF | https://www.infineon.com/dgdl/Infineon-TT425N-DS-v03_10-en_de.pdf?fileId=db3a304412b407950112b42f7bf84bc9 | 1400 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 425/85 | 12500.0 | 1051.0 | 120.0 | 0.065
TT425N12KOF | https://www.infineon.com/dgdl/Infineon-TT425N-DS-v03_10-en_de.pdf?fileId=db3a304412b407950112b42f7bf84bc9 | 1200 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 425/85 | 12500.0 | 1051.0 | 120.0 | 0.065
TZ425N12KOF | https://www.infineon.com/dgdl/Infineon-TZ425N-DS-v03_03-EN.pdf?fileId=db3a304412b407950112b42f896d4c1d | 1200 | 125 | Power Block 50 mm | Single SCR Phase Control | 425/85 | 12500.0 | 781.0 | 120.0 | 0.078
DZ435N40K | https://www.infineon.com/dgdl/Infineon-DZ435N-DS-v03_02-EN.pdf?fileId=db3a3043243b5f170124e2ccd4426304 | 4000 | 150 | Power Block 50 mm | Single Rectifier Diode | 435/100 | 12000.0 | 720.0 | - | 0.078
DD435N40K | https://www.infineon.com/dgdl/Infineon-DD435N-DS-v03_00-EN.pdf?fileId=db3a304412b407950112b4301f7e4f16 | 4000 | 150 | Power Block 60 mm | Rectifier Diode | 435/100 | 12000.0 | 720.0 | - | 0.078
DD435N36K | https://www.infineon.com/dgdl/Infineon-DD435N-DS-v03_00-EN.pdf?fileId=db3a304412b407950112b4301f7e4f16 | 3600 | 150 | Power Block 60 mm | Rectifier Diode | 435/100 | 12000.0 | 720.0 | - | 0.078
DZ435N36K | https://www.infineon.com/dgdl/Infineon-DZ435N-DS-v03_02-EN.pdf?fileId=db3a3043243b5f170124e2ccd4426304 | 3600 | 150 | Power Block 50 mm | Single Rectifier Diode | 435/100 | 12000.0 | 720.0 | - | 0.078
DD435N34K | https://www.infineon.com/dgdl/Infineon-DD435N-DS-v03_00-EN.pdf?fileId=db3a304412b407950112b4301f7e4f16 | 3400 | 150 | Power Block 60 mm | Rectifier Diode | 435/100 | 12000.0 | 720.0 | - | 0.078
DD435N28K | https://www.infineon.com/dgdl/Infineon-DD435N-DS-v03_00-EN.pdf?fileId=db3a304412b407950112b4301f7e4f16 | 2800 | 150 | Power Block 60 mm | Rectifier Diode | 435/100 | 12000.0 | 720.0 | - | 0.078
TD430N22KOF TIM | https://www.infineon.com/dgdl/Infineon-TT430N-DS-v03_40-en_de.pdf?fileId=db3a304412b407950112b42fe3c14e2c | 2200 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 430/85 | 12000.0 | 720.0 | 150.0 | 0.65
TT430N22KOF | https://www.infineon.com/dgdl/Infineon-TT430N-DS-v03_40-en_de.pdf?fileId=db3a304412b407950112b42fe3c14e2c | 2200 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 430/85 | 12000.0 | 1051.0 | 150.0 | 0.065
TZ430N22KOF | https://www.infineon.com/dgdl/Infineon-TZ430NXX-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f87654c11 | 2200 | 125 | Power Block 50 mm | Single SCR Phase Control | 430/85 | 12000.0 | 720.0 | 150.0 | 0.065
TD430N22KOF | https://www.infineon.com/dgdl/Infineon-TT430N-DS-v03_40-en_de.pdf?fileId=db3a304412b407950112b42fe3c14e2c | 2200 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 430/85 | 12000.0 | 720.0 | 150.0 | 0.065
TZ430N20KOF | https://www.infineon.com/dgdl/Infineon-TZ430NXX-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f87654c11 | 2000 | 125 | Power Block 50 mm | Single SCR Phase Control | 430/85 | 12000.0 | 720.0 | 150.0 | 0.065
DD380N16K | https://www.infineon.com/dgdl/Infineon-DD380N16K-DS-v03_02-en_de.pdf?fileId=5546d461464245d3014661b744dc6053 | 1600 | 150 | Power Block 50 mm | Rectifier Diode | 380/100 | 11500.0 | 660.0 | - | 0.125
TT400N26KOF | https://www.infineon.com/dgdl/Infineon-TT400N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fe3094e28 | 2600 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 400/85 | 11000.0 | 605.0 | 150.0 | 0.065
TD400N26KOF | https://www.infineon.com/dgdl/Infineon-TT400N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fe3094e28 | 2600 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 400/85 | 11000.0 | 605.0 | 150.0 | 0.065
TZ400N26KOF | https://www.infineon.com/dgdl/Infineon-TZ400N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f86ad4c0d | 2600 | 125 | Power Block 50 mm | Single SCR Phase Control | 400/85 | 11000.0 | 605.0 | 150.0 | 0.065
TT400N24KOF | https://www.infineon.com/dgdl/Infineon-TT400N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fe3094e28 | 2400 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 400/85 | 11000.0 | 605.0 | 150.0 | 0.065
TZ400N24KOF | https://www.infineon.com/dgdl/Infineon-TZ400N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f86ad4c0d | 2400 | 125 | Power Block 50 mm | Single SCR Phase Control | 400/85 | 11000.0 | 605.0 | 150.0 | 0.065
TZ400N20KOF | https://www.infineon.com/dgdl/Infineon-TZ400N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f86ad4c0d | 2000 | 125 | Power Block 50 mm | Single SCR Phase Control | 400/85 | 11000.0 | 605.0 | 150.0 | 0.065
DD350N18K | https://www.infineon.com/dgdl/Infineon-DD350N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42fbc334d50 | 1800 | 150 | Power Block 50 mm | Rectifier Diode | 350/100 | 11000.0 | 605.0 | - | 0.13
DD350N16K | https://www.infineon.com/dgdl/Infineon-DD350N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42fbc334d50 | 1600 | 150 | Power Block 50 mm | Rectifier Diode | 350/100 | 11000.0 | 605.0 | - | 0.13
ND350N16K | https://www.infineon.com/dgdl/Infineon-ND350N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b431306b53c9 | 1600 | 150 | Power Block 50 mm | Single Rectifier Diode | 350/100 | 11000.0 | 605.0 | - | 0.13
DD350N14K | https://www.infineon.com/dgdl/Infineon-DD350N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42fbc334d50 | 1400 | 150 | Power Block 50 mm | Rectifier Diode | 350/100 | 11000.0 | 605.0 | - | 0.13
ND350N12K | https://www.infineon.com/dgdl/Infineon-ND350N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b431306b53c9 | 1200 | 150 | Power Block 50 mm | Single Rectifier Diode | 350/100 | 11000.0 | 605.0 | - | 0.13
DD350N12K | https://www.infineon.com/dgdl/Infineon-DD350N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42fbc334d50 | 1200 | 150 | Power Block 50 mm | Rectifier Diode | 350/100 | 11000.0 | 605.0 | - | 0.13
DD340N22S | https://www.infineon.com/dgdl/Infineon-DD340N22S-DS-v03_07-EN.pdf?fileId=5546d4625cc9456a015d06e5e1597efa | 2200 | 130 | Eco Block 50 mm | Rectifier Diode | 330/100 | 10000.0 | 385.0 | - | 0.086
DD340N20S | https://www.infineon.com/dgdl/Infineon-DD340N20S-DS-v03_07-EN.pdf?fileId=5546d4625b62cd8a015ba4d7bc126601 | 2000 | 130 | Eco Block 50 mm | Rectifier Diode | 330/100 | 10000.0 | 385.0 | - | 0.086
DD340N18S | https://www.infineon.com/dgdl/Infineon-DD340N18S-DS-v03_07-EN.pdf?fileId=5546d4625b62cd8a015ba4d7ad2a65fe | 1800 | 130 | Eco Block 50 mm | Rectifier Diode | 330/100 | 10000.0 | 385.0 | - | 0.086
DD340N16S | https://www.infineon.com/dgdl/Infineon-DD340N16S-DS-v03_07-EN.pdf?fileId=5546d4625b62cd8a015ba4c5602b65fb | 1600 | 130 | Eco Block 50 mm | Rectifier Diode | 330/100 | 10000.0 | 385.0 | - | 0.086
TT320N18SOF | https://www.infineon.com/dgdl/Infineon-TT320N18SOF-DS-v03_01-EN.pdf?fileId=5546d4625cc9456a015d06e572e77eea | 1800 | 130 | Eco Block 50 mm | SCR / SCR Phase Control | 320/85 | 9500.0 | 335.0 | 100.0 | 0.11
TD320N18SOF | https://www.infineon.com/dgdl/Infineon-TT320N18SOF-DS-v03_01-EN.pdf?fileId=5546d4625cc9456a015d06e572e77eea | 1800 | 130 | Eco Block 50 mm | SCR / Diode Phase Control | 320/85 | 9500.0 | 335.0 | 100.0 | 0.11
TD320N16SOF | https://www.infineon.com/dgdl/Infineon-TT320N16SOF-DS-v03_07-EN.pdf?fileId=5546d462525dbac40152cb734ec3695d | 1600 | 130 | Eco Block 50 mm | SCR / Diode Phase Control | 320/85 | 9500.0 | 335.0 | 100.0 | 0.11
TD310N26KOF | https://www.infineon.com/dgdl/Infineon-TT310N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fe1884e20 | 2600 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 310/85 | 9000.0 | 405.0 | 120.0 | 0.078
TT310N26KOF | https://www.infineon.com/dgdl/Infineon-TT310N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fe1884e20 | 2600 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 310/85 | 9000.0 | 405.0 | 120.0 | 0.078
TT310N24KOF | https://www.infineon.com/dgdl/Infineon-TT310N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fe1884e20 | 2400 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 310/85 | 9000.0 | 405.0 | 120.0 | 0.078
TT310N22KOF | https://www.infineon.com/dgdl/Infineon-TT310N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fe1884e20 | 2200 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 310/85 | 9000.0 | 405.0 | 120.0 | 0.078
TD310N22KOF | https://www.infineon.com/dgdl/Infineon-TT310N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fe1884e20 | 2200 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 310/85 | 9000.0 | 405.0 | 120.0 | 0.078
TD310N20KOF | https://www.infineon.com/dgdl/Infineon-TT310N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fe1884e20 | 2000 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 310/85 | 9000.0 | 405.0 | 120.0 | 0.078
TT310N20KOF | https://www.infineon.com/dgdl/Infineon-TT310N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fe1884e20 | 2000 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 310/85 | 9000.0 | 405.0 | 120.0 | 0.078
TD280N18SOF | https://www.infineon.com/dgdl/Infineon-TT280N18SOF-DS-v03_01-EN.pdf?fileId=5546d4625cc9456a015d06e50ebf7edb | 1800 | 130 | Eco Block 50 mm | SCR / Diode Phase Control | 280/85 | 9000.0 | 304.2 | 100.0 | 0.11
TT280N18SOF | https://www.infineon.com/dgdl/Infineon-TT280N18SOF-DS-v03_01-EN.pdf?fileId=5546d4625cc9456a015d06e50ebf7edb | 1800 | 130 | Eco Block 50 mm | SCR / SCR Phase Control | 280/85 | 9000.0 | 304.2 | 100.0 | 0.11
TT270N16KOF | https://www.infineon.com/dgdl/Infineon--DS-v03_02-EN.pdf?fileId=db3a304343fd3ea2014401a5b00c4d2b | 1600 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 270/92 | 9000.0 | 400.0 | 250.0 | 0.12
TT280N16SOF | https://www.infineon.com/dgdl/Infineon-TT280N16SOF-DS-v03_07-EN.pdf?fileId=5546d462525dbac40152d5e434fd072d | 1600 | 130 | Eco Block 50 mm | SCR / SCR Phase Control | 280/85 | 9000.0 | 304.0 | 100.0 | 0.11
TD280N16SOF | https://www.infineon.com/dgdl/Infineon-TT280N16SOF-DS-v03_07-EN.pdf?fileId=5546d462525dbac40152d5e434fd072d | 1600 | 130 | Eco Block 50 mm | SCR / Diode Phase Control | 280/85 | 9000.0 | 304.0 | 100.0 | 0.11
TD270N16KOF | https://www.infineon.com/dgdl/Infineon--DS-v03_02-EN.pdf?fileId=db3a304343fd3ea2014401a5b00c4d2b | 1600 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 270/85 | 9000.0 | 400.0 | 250.0 | 0.12
TT305N16KOF | https://www.infineon.com/dgdl/Infineon-TT305N16KOF-DS-v03_00-en_de.pdf?fileId=db3a30433f12d084013f13d459b4021f | 1600 | 130 | Power Block 50 mm | SCR / SCR Phase Control | 305/85 | 9000.0 | 551.0 | 250.0 | 0.12
DD390N22S | https://www.infineon.com/dgdl/Infineon-DD390N22S-DS-v03_01-EN.pdf?fileId=5546d462636cc8fb01639104e0583fd3 | 2200 | 150 | Eco Block 50 mm | Rectifier Diode | 390/119 | 8400.0 | 352.8 | - | 0.086
DD390N16S | https://www.infineon.com/dgdl/Infineon-DD390N16S-DS-v03_01-EN.pdf?fileId=5546d462636cc8fb016390f2a8153f57 | 1600 | 150 | Eco Block 50 mm | Rectifier Diode | 390/113 | 8400.0 | 352.8 | - | 0.086
ND261N26K | https://www.infineon.com/dgdl/Infineon-ND261N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f7ff84bf5 | 2600 | 150 | Power Block 50 mm | Single Rectifier Diode | 260/100 | 8300.0 | 344.0 | - | 0.17
ND261N22K | https://www.infineon.com/dgdl/Infineon-ND261N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f7ff84bf5 | 2200 | 150 | Power Block 50 mm | Single Rectifier Diode | 260/100 | 8300.0 | 344.0 | - | 0.17
DD261N22K | https://www.infineon.com/dgdl/Infineon-DD261N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42fa08c4ca0 | 2200 | 150 | Power Block 50 mm | Rectifier Diode | 260/100 | 8300.0 | 344.0 | - | 0.17
ND261N20K | https://www.infineon.com/dgdl/Infineon-ND261N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f7ff84bf5 | 2000 | 150 | Power Block 50 mm | Single Rectifier Diode | 260/100 | 8300.0 | 344.0 | - | 0.17
DD261N20K | https://www.infineon.com/dgdl/Infineon-DD261N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42fa08c4ca0 | 2000 | 150 | Power Block 50 mm | Rectifier Diode | 260/100 | 8300.0 | 344.0 | - | 0.17
DD260N18K | https://www.infineon.com/dgdl/Infineon-DD260N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42fbba04d4c | 1800 | 150 | Power Block 50 mm | Rectifier Diode | 260/100 | 8300.0 | 344.0 | - | 0.17
DD260N16K | https://www.infineon.com/dgdl/Infineon-DD260N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42fbba04d4c | 1600 | 150 | Power Block 50 mm | Rectifier Diode | 260/100 | 8300.0 | 344.0 | - | 0.17
ND260N16K | https://www.infineon.com/dgdl/Infineon-ND260N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b4312fc453c5 | 1600 | 150 | Power Block 50 mm | Single Rectifier Diode | 260/100 | 8300.0 | 344.0 | - | 0.17
DD260N14K | https://www.infineon.com/dgdl/Infineon-DD260N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42fbba04d4c | 1400 | 150 | Power Block 50 mm | Rectifier Diode | 260/100 | 8300.0 | 344.0 | - | 0.17
ND260N14K | https://www.infineon.com/dgdl/Infineon-ND260N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b4312fc453c5 | 1400 | 150 | Power Block 50 mm | Single Rectifier Diode | 260/100 | 8300.0 | 344.0 | - | 0.17
DD260N12K | https://www.infineon.com/dgdl/Infineon-DD260N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42fbba04d4c | 1200 | 150 | Power Block 50 mm | Rectifier Diode | 260/100 | 8300.0 | 344.0 | - | 0.17
ND260N12K | https://www.infineon.com/dgdl/Infineon-ND260N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b4312fc453c5 | 1200 | 150 | Power Block 50 mm | Single Rectifier Diode | 260/100 | 8300.0 | 344.0 | - | 0.17
DD285N04K | https://www.infineon.com/dgdl/Infineon-DD285N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b430667f5088 | 400 | 150 | Power Block 50 mm | Rectifier Diode | 285/100 | 8300.0 | 344.0 | - | 0.17
DD285N02K | https://www.infineon.com/dgdl/Infineon-DD285N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b430667f5088 | 400 | 150 | Power Block 50 mm | Rectifier Diode | 285/100 | 8300.0 | 344.0 | - | 0.17
TT320N16SOF | https://www.infineon.com/dgdl/Infineon-TT320N16SOF-DS-v03_07-EN.pdf?fileId=5546d462525dbac40152cb734ec3695d | 1600 | 130 | Eco Block 50 mm | SCR / SCR Phase Control | 320/85 | 8200.0 | 335.0 | 100.0 | 0.11
TT390N18SOF | https://www.infineon.com/dgdl/Infineon-TT390N18SOF-DS-v03_01-EN.pdf?fileId=5546d462636cc8fb01639266a45e4789 | 1800 | 140 | Eco Block 50 mm | Thyristor/Diode | 380/85 | 8100.0 | 328.0 | 100.0 | 0.11
TD390N18SOF | https://www.infineon.com/dgdl/Infineon-TT390N18SOF-DS-v03_01-EN.pdf?fileId=5546d462636cc8fb01639266a45e4789 | 1800 | 140 | Eco Block 50 mm | Thyristor/Diode | 380/85 | 8100.0 | 328.0 | 100.0 | 0.11
TD390N16SOF | https://www.infineon.com/dgdl/Infineon-TT390N16SOF-DS-v03_01-EN.pdf?fileId=5546d462636cc8fb0163910f23db4120 | 1600 | 140 | Eco Block 50 mm | Thyristor/Diode | 380/85 | 8100.0 | 328.0 | 100.0 | 0.11
TT390N16SOF | https://www.infineon.com/dgdl/Infineon-TT390N16SOF-DS-v03_01-EN.pdf?fileId=5546d462636cc8fb0163910f23db4120 | 1600 | 140 | Eco Block 50 mm | Thyristor/Diode | 380/85 | 8100.0 | 328.0 | 100.0 | 0.11
TZ310N26KOF | https://www.infineon.com/dgdl/Infineon-TZ310N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f851d4c05 | 2600 | 125 | Power Block 50 mm | Single SCR Phase Control | 310/85 | 8000.0 | 320.0 | 120.0 | 0.078
TZ310N24KOF | https://www.infineon.com/dgdl/Infineon-TZ310N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f851d4c05 | 2400 | 125 | Power Block 50 mm | Single SCR Phase Control | 310/85 | 8000.0 | 320.0 | 120.0 | 0.078
TD260N22KOF | https://www.infineon.com/dgdl/Infineon-TT260N22KOF-DS-v03_01-en_de.pdf?fileId=db3a304343fd3ea2014401c49e934d63 | 2200 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 260/85 | 8000.0 | 320.0 | 250.0 | 0.12
TZ310N22KOF | https://www.infineon.com/dgdl/Infineon-TZ310N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f851d4c05 | 2200 | 125 | Power Block 50 mm | Single SCR Phase Control | 310/85 | 8000.0 | 320.0 | 120.0 | 0.078
TT260N22KOF | https://www.infineon.com/dgdl/Infineon-TT260N22KOF-DS-v03_01-en_de.pdf?fileId=db3a304343fd3ea2014401c49e934d63 | 2200 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 260/85 | 8000.0 | 320.0 | 250.0 | 0.12
TZ310N20KOF | https://www.infineon.com/dgdl/Infineon-TZ310N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f851d4c05 | 2000 | 125 | Power Block 50 mm | Single SCR Phase Control | 310/85 | 8000.0 | 320.0 | 120.0 | 0.078
TD251N18KOF | https://www.infineon.com/dgdl/Infineon-TT251N-DS-v03_20-en_de.pdf?fileId=db3a304412b407950112b42f92cb4c38 | 1800 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 250/85 | 8000.0 | 320.0 | 250.0 | 0.13
TT251N18KOF | https://www.infineon.com/dgdl/Infineon-TT251N-DS-v03_20-en_de.pdf?fileId=db3a304412b407950112b42f92cb4c38 | 1800 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 250/85 | 8000.0 | 320.0 | 250.0 | 0.13
TT330N16KOF | https://www.infineon.com/dgdl/Infineon-TT330N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f939b4c3f | 1600 | 130 | Power Block 50 mm | SCR / SCR Phase Control | 330/85 | 8000.0 | 500.0 | 250.0 | 0.11199999999999999
TD330N16KOF | https://www.infineon.com/dgdl/Infineon-TT330N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f939b4c3f | 1600 | 130 | Power Block 50 mm | SCR / Diode Phase Control | 330/85 | 8000.0 | 500.0 | 250.0 | 0.11199999999999999
TT330N16KOF TIM | https://www.infineon.com/dgdl/Infineon-TT330N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f939b4c3f | 1600 | 130 | Power Block 50 mm | SCR / SCR Phase Control | 330/85 | 8000.0 | 500.0 | 250.0 | 0.11199999999999999
TD251N16KOF | https://www.infineon.com/dgdl/Infineon-TT251N-DS-v03_20-en_de.pdf?fileId=db3a304412b407950112b42f92cb4c38 | 1600 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 250/85 | 8000.0 | 320.0 | 250.0 | 0.13
TT251N16KOF | https://www.infineon.com/dgdl/Infineon-TT251N-DS-v03_20-en_de.pdf?fileId=db3a304412b407950112b42f92cb4c38 | 1600 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 250/85 | 8000.0 | 320.0 | 250.0 | 0.13
TD285N16KOF | https://www.infineon.com/dgdl/Infineon-TT285N16KOF-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7b4d4bc5 | 1600 | 130 | Power Block 50 mm | SCR / Diode Phase Control | 285/92 | 8000.0 | 500.0 | 250.0 | 0.055999999999999994
TD330N16KOF TIM | https://www.infineon.com/dgdl/Infineon-TT330N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f939b4c3f | 1600 | 130 | Power Block 50 mm | SCR / Diode Phase Control | 330/85 | 8000.0 | 500.0 | 250.0 | 0.11199999999999999
TT285N16KOF | https://www.infineon.com/dgdl/Infineon-TT285N16KOF-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7b4d4bc5 | 1600 | 130 | Power Block 50 mm | SCR / SCR Phase Control | 285/92 | 8000.0 | 781.0 | 250.0 | 0.11199999999999999
TT251N14KOF | https://www.infineon.com/dgdl/Infineon-TT251N-DS-v03_20-en_de.pdf?fileId=db3a304412b407950112b42f92cb4c38 | 1400 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 250/85 | 8000.0 | 320.0 | 250.0 | 0.13
TT330N14KOF | https://www.infineon.com/dgdl/Infineon-TT330N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f939b4c3f | 1400 | 130 | Power Block 50 mm | SCR / SCR Phase Control | 330/85 | 8000.0 | 500.0 | 250.0 | 0.11199999999999999
TD251N14KOF | https://www.infineon.com/dgdl/Infineon-TT251N-DS-v03_20-en_de.pdf?fileId=db3a304412b407950112b42f92cb4c38 | 1400 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 250/85 | 8000.0 | 320.0 | 250.0 | 0.13
TT330N12KOF | https://www.infineon.com/dgdl/Infineon-TT330N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f939b4c3f | 1200 | 130 | Power Block 50 mm | SCR / SCR Phase Control | 330/85 | 8000.0 | 500.0 | 250.0 | 0.11199999999999999
TT251N12KOF | https://www.infineon.com/dgdl/Infineon-TT251N-DS-v03_20-en_de.pdf?fileId=db3a304412b407950112b42f92cb4c38 | 1200 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 250/85 | 8000.0 | 320.0 | 250.0 | 0.13
DD230S26K | https://www.infineon.com/dgdl/Infineon-DD230S-DS-v01_01-en_de.pdf?fileId=db3a304412b407950112b42f7f694bf1 | 2600 | 150 | Power Block 50 mm | Fast Diodes | 230/100 | 7500.0 | 281.0 | - | 0.15
DD241S14K | https://www.infineon.com/dgdl/Infineon-DD241S-DS-v01_01-en_de.pdf?fileId=db3a304412b407950112b42f74174b8f | 1400 | 150 | Power Block 50 mm | Fast Diodes | 240/100 | 7500.0 | 281.0 | - | 0.15
DD242S10K | https://www.infineon.com/dgdl/Infineon-DD242S-DS-v01_01-en_de.pdf?fileId=db3a304412b407950112b42f74764b93 | 1400 | 150 | Power Block 50 mm | Fast Diodes | 240/100 | 7500.0 | 281.0 | - | 0.15
ND242S10K | https://www.infineon.com/dgdl/Infineon-DD242S-DS-v01_01-en_de.pdf?fileId=db3a304412b407950112b42f74764b93 | 1000 | 150 | Power Block 50 mm | Fast Single Diode | 240/100 | 7500.0 | 281.0 | - | 0.15
ND241S14K | https://www.infineon.com/dgdl/Infineon-DD241S-DS-v01_01-en_de.pdf?fileId=db3a304412b407950112b42f74174b8f | 1000 | 150 | Power Block 50 mm | Fast Single Diode | 240/100 | 7500.0 | 281.0 | - | 0.15
TT250N18KOF | https://www.infineon.com/dgdl/Infineon-TT250N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7aa64bc1 | 1800 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 250/85 | 7000.0 | 245.0 | 150.0 | 0.13
TD250N18/25KOF | https://www.infineon.com/dgdl/Infineon-TT250N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7aa64bc1 | 1800 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 250/85 | 7000.0 | 320.0 | 150.0 | 0.13
TD250N18KOF | https://www.infineon.com/dgdl/Infineon-TT250N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7aa64bc1 | 1800 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 250/85 | 7000.0 | 245.0 | 150.0 | 0.13
TD250N16KOF | https://www.infineon.com/dgdl/Infineon-TT250N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7aa64bc1 | 1600 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 250/85 | 7000.0 | 245.0 | 150.0 | 0.13
TD250N16/25KOF | https://www.infineon.com/dgdl/Infineon-TT250N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7aa64bc1 | 1600 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 250/85 | 7000.0 | 320.0 | 150.0 | 0.13
DT250N16KOF | https://www.infineon.com/dgdl/Infineon-TT250N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7aa64bc1 | 1600 | 125 | Power Block 50 mm | Diode / SCR Phase Control | 250/85 | 7000.0 | 245.0 | 150.0 | 0.13
TD250N16KOF TIM | https://www.infineon.com/dgdl/Infineon-TT250N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7aa64bc1 | 1600 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 250/85 | 7000.0 | 245.0 | 150.0 | 0.13
TT250N16KOF | https://www.infineon.com/dgdl/Infineon-TT250N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7aa64bc1 | 1600 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 250/85 | 7000.0 | 245.0 | 150.0 | 0.13
TT250N16KOF TIM | https://www.infineon.com/dgdl/Infineon-TT250N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7aa64bc1 | 1600 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 250/85 | 7000.0 | 245.0 | 150.0 | 0.13
TD250N14/20KOF | https://www.infineon.com/dgdl/Infineon-TT250N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7aa64bc1 | 1400 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 250/85 | 7000.0 | 320.0 | 150.0 | 0.13
TT250N14KOF | https://www.infineon.com/dgdl/Infineon-TT250N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7aa64bc1 | 1400 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 250/85 | 7000.0 | 245.0 | 150.0 | 0.13
TD250N14KOF | https://www.infineon.com/dgdl/Infineon-TT250N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7aa64bc1 | 1400 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 250/85 | 7000.0 | 245.0 | 150.0 | 0.13
TT250N12KOF | https://www.infineon.com/dgdl/Infineon-TT250N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7aa64bc1 | 1200 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 250/85 | 7000.0 | 245.0 | 150.0 | 0.13
TD250N12KOF | https://www.infineon.com/dgdl/Infineon-TT250N-DS-v03_04-EN.pdf?fileId=db3a304412b407950112b42f7aa64bc1 | 1200 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 250/85 | 7000.0 | 245.0 | 150.0 | 0.13
DD231N26K | https://www.infineon.com/dgdl/Infineon-DD231N-DS-v03_01-EN.pdf?fileId=db3a304412b407950112b42f9ffe4c9c | 2600 | 150 | Power Block 50 mm | Rectifier Diode | 231/100 | 6400.0 | 205.0 | - | 0.17
DD231N24K | https://www.infineon.com/dgdl/Infineon-DD231N-DS-v03_01-EN.pdf?fileId=db3a304412b407950112b42f9ffe4c9c | 2400 | 150 | Power Block 50 mm | Rectifier Diode | 231/100 | 6400.0 | 205.0 | - | 0.17
DD231N22K | https://www.infineon.com/dgdl/Infineon-DD231N-DS-v03_01-EN.pdf?fileId=db3a304412b407950112b42f9ffe4c9c | 2200 | 150 | Power Block 50 mm | Rectifier Diode | 231/100 | 6400.0 | 205.0 | - | 0.17
DD231N20K | https://www.infineon.com/dgdl/Infineon-DD231N-DS-v03_01-EN.pdf?fileId=db3a304412b407950112b42f9ffe4c9c | 2000 | 150 | Power Block 50 mm | Rectifier Diode | 231/100 | 6400.0 | 205.0 | - | 0.17
TD215N22KOF | https://www.infineon.com/dgdl/Infineon-TT215N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42fe0c84e1c | 2200 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 215/85 | 6300.0 | 198.0 | 100.0 | 0.13
TT215N20KOF | https://www.infineon.com/dgdl/Infineon-TT215N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42fe0c84e1c | 2000 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 215/85 | 6300.0 | 198.0 | 100.0 | 0.13
TT215N22KOF | https://www.infineon.com/dgdl/Infineon-TT215N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42fe0c84e1c | 1800 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 215/85 | 6300.0 | 198.0 | 100.0 | 0.13
TT215N18KOF | https://www.infineon.com/dgdl/Infineon-TT215N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42fe0c84e1c | 1800 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 215/85 | 6300.0 | 198.0 | 100.0 | 0.13
TT210N18KOF | https://www.infineon.com/dgdl/Infineon-TT210N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42f79f24bbd | 1800 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 210/85 | 5800.0 | 168.0 | 150.0 | 0.13
TD210N18KOF | https://www.infineon.com/dgdl/Infineon-TT210N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42f79f24bbd | 1800 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 210/85 | 5800.0 | 168.0 | 150.0 | 0.13
TD210N16KOF | https://www.infineon.com/dgdl/Infineon-TT210N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42f79f24bbd | 1600 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 210/85 | 5800.0 | 168.0 | 150.0 | 0.13
TT210N16KOF | https://www.infineon.com/dgdl/Infineon-TT210N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42f79f24bbd | 1600 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 210/85 | 5800.0 | 168.0 | 150.0 | 0.13
TD210N14KOF | https://www.infineon.com/dgdl/Infineon-TT210N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42f79f24bbd | 1400 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 210/85 | 5800.0 | 168.0 | 150.0 | 0.13
TT210N14KOF | https://www.infineon.com/dgdl/Infineon-TT210N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42f79f24bbd | 1400 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 210/85 | 5800.0 | 168.0 | 150.0 | 0.13
TT210N12KOF | https://www.infineon.com/dgdl/Infineon-TT210N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42f79f24bbd | 1200 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 210/85 | 5800.0 | 168.0 | 150.0 | 0.13
TD210N12KOF | https://www.infineon.com/dgdl/Infineon-TT210N-DS-v03_01-en_de.pdf?fileId=db3a304412b407950112b42f79f24bbd | 1200 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 210/85 | 5800.0 | 168.0 | 150.0 | 0.13
DD180N22S | https://www.infineon.com/dgdl/Infineon-DD180N22S-DS-v03_02-EN.pdf?fileId=5546d46259d9a4bf015a131f084c0cf2 | 2200 | 135 | Eco Block 34 mm | Rectifier Diode | 174/100 | 5750.0 | 131.6 | - | 0.14
DD180N20S | https://www.infineon.com/dgdl/Infineon-DD180N20S-DS-v03_03-EN.pdf?fileId=5546d4625debb399015e18e7eeba3790 | 2000 | 135 | Eco Block 34 mm | Rectifier Diode | 174/100 | 5750.0 | 131.6 | - | 0.14
DD180N18S | https://www.infineon.com/dgdl/Infineon-DD180N18S-DS-v03_03-EN.pdf?fileId=5546d4625debb399015e18ded5573539 | 1800 | 135 | Eco Block 34 mm | Rectifier Diode | 174/100 | 5750.0 | 131.6 | - | 0.14
DD180N16S | https://www.infineon.com/dgdl/Infineon-DD180N16S-DS-v03_03-EN.pdf?fileId=5546d46254bdc4f50154dd3d1d032c9b | 1600 | 135 | Eco Block 34 mm | Rectifier Diode | 174/100 | 5750.0 | 131.6 | - | 0.14
ND171N18K | https://www.infineon.com/dgdl/Infineon-DD171N-DS-v03_01-EN.pdf?fileId=db3a304412b407950112b42fbb0e4d48 | 1800 | 150 | Power Block 34 mm | Single Rectifier Diode | 170/100 | 5600.0 | 157.0 | - | 0.26
DD171N18K | https://www.infineon.com/dgdl/Infineon-DD171N-DS-v03_01-EN.pdf?fileId=db3a304412b407950112b42fbb0e4d48 | 1800 | 150 | Power Block 34 mm | Rectifier Diode | 170/100 | 5600.0 | 157.0 | - | 0.26
DD171N16K | https://www.infineon.com/dgdl/Infineon-DD171N-DS-v03_01-EN.pdf?fileId=db3a304412b407950112b42fbb0e4d48 | 1600 | 150 | Power Block 34 mm | Rectifier Diode | 170/100 | 5600.0 | 157.0 | - | 0.26
ND171N16K | https://www.infineon.com/dgdl/Infineon-DD171N-DS-v03_01-EN.pdf?fileId=db3a304412b407950112b42fbb0e4d48 | 1600 | 150 | Power Block 34 mm | Single Rectifier Diode | 170/100 | 5600.0 | 157.0 | - | 0.26
ND171N14K | https://www.infineon.com/dgdl/Infineon-DD171N-DS-v03_01-EN.pdf?fileId=db3a304412b407950112b42fbb0e4d48 | 1400 | 150 | Power Block 34 mm | Single Rectifier Diode | 170/100 | 5600.0 | 157.0 | - | 0.26
DD171N14K | https://www.infineon.com/dgdl/Infineon-DD171N-DS-v03_01-EN.pdf?fileId=db3a304412b407950112b42fbb0e4d48 | 1400 | 150 | Power Block 34 mm | Rectifier Diode | 170/100 | 5600.0 | 157.0 | - | 0.26
ND171N12K | https://www.infineon.com/dgdl/Infineon-DD171N-DS-v03_01-EN.pdf?fileId=db3a304412b407950112b42fbb0e4d48 | 1200 | 150 | Power Block 34 mm | Single Rectifier Diode | 170/100 | 5600.0 | 157.0 | - | 0.26
DD171N12K | https://www.infineon.com/dgdl/Infineon-DD171N-DS-v03_01-EN.pdf?fileId=db3a304412b407950112b42fbb0e4d48 | 1200 | 150 | Power Block 34 mm | Rectifier Diode | 170/100 | 5600.0 | 157.0 | - | 0.26
TT240N38KOF | https://www.infineon.com/dgdl/Infineon-TT240N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b43063175039 | 3800 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 240/85 | 5500.0 | 151.0 | 100.0 | 0.078
TD240N36KOF | https://www.infineon.com/dgdl/Infineon-TT240N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b43063175039 | 3600 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 240/85 | 5500.0 | 151.0 | 100.0 | 0.078
TT240N36KOF | https://www.infineon.com/dgdl/Infineon-TT240N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b43063175039 | 3600 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 240/85 | 5500.0 | 151.0 | 100.0 | 0.078
TZ240N36KOF | https://www.infineon.com/dgdl/Infineon-TZ240N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42fd8bf4e00 | 3600 | 125 | Power Block 50 mm | Single SCR Phase Control | 240/85 | 5500.0 | 151.0 | 100.0 | 0.078
TZ240N34KOF | https://www.infineon.com/dgdl/Infineon-TZ240N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42fd8bf4e00 | 3400 | 125 | Power Block 50 mm | Single SCR Phase Control | 240/85 | 5500.0 | 151.0 | 100.0 | 0.078
TT240N34KOF | https://www.infineon.com/dgdl/Infineon-TT240N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b43063175039 | 3400 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 240/85 | 5500.0 | 151.0 | 100.0 | 0.078
TT240N32KOF | https://www.infineon.com/dgdl/Infineon-TT240N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b43063175039 | 3200 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 240/85 | 5500.0 | 151.0 | 100.0 | 0.078
TD240N32KOF | https://www.infineon.com/dgdl/Infineon-TT240N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b43063175039 | 3200 | 125 | Power Block 60 mm | SCR / Diode Phase Control | 240/85 | 5500.0 | 151.0 | 100.0 | 0.078
TZ240N32KOF | https://www.infineon.com/dgdl/Infineon-TZ240N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42fd8bf4e00 | 3200 | 125 | Power Block 50 mm | Single SCR Phase Control | 240/85 | 5500.0 | 151.0 | 100.0 | 0.078
TZ240N30KOF | https://www.infineon.com/dgdl/Infineon-TZ240N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42fd8bf4e00 | 3000 | 125 | Power Block 50 mm | Single SCR Phase Control | 240/85 | 5500.0 | 151.0 | 100.0 | 0.078
TT240N28KOF | https://www.infineon.com/dgdl/Infineon-TT240N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b43063175039 | 2800 | 125 | Power Block 60 mm | SCR / SCR Phase Control | 240/85 | 5500.0 | 151.0 | 100.0 | 0.078
DD170N16S | https://www.infineon.com/dgdl/Infineon-DD170N16S-DS-v03_02-EN.pdf?fileId=5546d46148a8bbb90148d04009e82de2 | 1600 | 135 | Eco Block 34 mm | Rectifier Diode | 165/100 | 5500.0 | 151.25 | - | 0.18
TT190N18SOF | https://www.infineon.com/dgdl/Infineon-TT190N18SOF-DS-v03_01-EN.pdf?fileId=5546d4625cc9456a015d06e57a387eed | 1800 | 125 | Eco Block 34 mm | SCR / SCR Phase Control | 190/85 | 5200.0 | 101.3 | 100.0 | 0.145
TD160N18SOF | https://www.infineon.com/dgdl/Infineon-TT160N18SOF-DS-v03_01-EN.pdf?fileId=5546d4625cc9456a015d06e515dd7ede | 1800 | 125 | Eco Block 34 mm | SCR / Diode Phase Control | 160/85 | 5200.0 | 101.3 | 100.0 | 0.145
TT160N18SOF | https://www.infineon.com/dgdl/Infineon-TT160N18SOF-DS-v03_01-EN.pdf?fileId=5546d4625cc9456a015d06e515dd7ede | 1800 | 125 | Eco Block 34 mm | SCR / SCR Phase Control | 160/85 | 5200.0 | 101.3 | 100.0 | 0.145
TD190N18SOF | https://www.infineon.com/dgdl/Infineon-TT190N18SOF-DS-v03_01-EN.pdf?fileId=5546d4625cc9456a015d06e57a387eed | 1800 | 125 | Eco Block 34 mm | SCR / Diode Phase Control | 190/85 | 5200.0 | 101.3 | 100.0 | 0.145
TT190N16SOF | https://www.infineon.com/dgdl/Infineon-TT190N16SOF-DS-v03_02-EN.pdf?fileId=5546d46254bdc4f50154dd3d24ae2c9d | 1600 | 125 | Eco Block 34 mm | SCR / SCR Phase Control | 190/85 | 5200.0 | 101.3 | 100.0 | 0.145
TT160N16SOF | https://www.infineon.com/dgdl/Infineon-TT160N16SOF-DS-v03_02-EN.pdf?fileId=5546d46254bdc4f50154dd9865532d29 | 1600 | 125 | Eco Block 34 mm | SCR / SCR Phase Control | 160/85 | 5200.0 | 101.3 | 100.0 | 0.145
TD160N16SOF | https://www.infineon.com/dgdl/Infineon-TT160N16SOF-DS-v03_02-EN.pdf?fileId=5546d46254bdc4f50154dd9865532d29 | 1600 | 125 | Eco Block 34 mm | SCR / Diode Phase Control | 160/85 | 5200.0 | 101.3 | 100.0 | 0.145
TD190N16SOF | https://www.infineon.com/dgdl/Infineon-TT190N16SOF-DS-v03_02-EN.pdf?fileId=5546d46254bdc4f50154dd3d24ae2c9d | 1600 | 125 | Eco Block 34 mm | SCR / Diode Phase Control | 190/85 | 5200.0 | 101.3 | 100.0 | 0.145
TT175N16SOF | https://www.infineon.com/dgdl/Infineon-TT175N-DS-v03_04-EN.pdf?fileId=5546d46148a8bbb90148d04699a02e07 | 1600 | 125 | Eco Block 34 mm | SCR / SCR Phase Control | 175/85 | 5000.0 | 125.0 | 200.0 | 0.16399999999999998
TD175N16SOF | https://www.infineon.com/dgdl/Infineon-TT175N-DS-v03_04-EN.pdf?fileId=5546d46148a8bbb90148d04699a02e07 | 1600 | 125 | Eco Block 34 mm | SCR / Diode Phase Control | 175/85 | 5000.0 | 125.0 | 200.0 | 0.16399999999999998
DD220N22S | https://www.infineon.com/dgdl/Infineon-DD220N22S-DS-v03_01-EN.pdf?fileId=5546d462636cc8fb016390f2b2ab3f5a | 2200 | 150 | Eco Block 34 mm | Thyristor/Diode | 226/100 | 4800.0 | 115.2 | - | 0.16
DD220N16S | https://www.infineon.com/dgdl/Infineon-DD220N16S-DS-v03_01-EN.pdf?fileId=5546d462636cc8fb016390e96caf3f54 | 1600 | 150 | Eco Block 34 mm | Thyristor/Diode | 226/100 | 4800.0 | 115.2 | - | 0.16
DD160N22K | https://www.infineon.com/dgdl/Infineon-DD160N-DS-v01_00-en.pdf?fileId=db3a3043243b5f170124e2c9be8362fb | 2200 | 150 | Power Block 34 mm | Rectifier Diode | 160/100 | 4600.0 | 105.8 | - | 0.26
TT170N18KOF | https://www.infineon.com/dgdl/Infineon-TT170N-DS-v03_10-en_de.pdf?fileId=db3a304412b407950112b42f794a4bb9 | 1800 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 170/85 | 4600.0 | 106.0 | 150.0 | 0.17
TD170N16KOF | https://www.infineon.com/dgdl/Infineon-TT170N-DS-v03_10-en_de.pdf?fileId=db3a304412b407950112b42f794a4bb9 | 1600 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 170/85 | 4600.0 | 106.0 | 150.0 | 0.17
DT170N20/14KOF | https://www.infineon.com/dgdl/Infineon-TT170N-DS-v03_10-en_de.pdf?fileId=db3a304412b407950112b42f794a4bb9 | 1400 | 125 | Power Block 50 mm | Diode / SCR Phase Control | 170/85 | 4600.0 | 245.0 | 150.0 | 0.13
TD170N12KOF | https://www.infineon.com/dgdl/Infineon-TT170N-DS-v03_10-en_de.pdf?fileId=db3a304412b407950112b42f794a4bb9 | 1200 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 170/85 | 4600.0 | 106.0 | 150.0 | 0.17
TD240N18SOF | https://www.infineon.com/dgdl/Infineon-TT240N18SOF-DS-v03_01-EN.pdf?fileId=5546d462636cc8fb0163910f1b0d411c | 1800 | 140 | Eco Block 34 mm | Thyristor/Diode | 240/85 | 4400.0 | 96.8 | 100.0 | 0.165
TT240N18SOF | https://www.infineon.com/dgdl/Infineon-TT240N18SOF-DS-v03_01-EN.pdf?fileId=5546d462636cc8fb0163910f1b0d411c | 1800 | 140 | Eco Block 34 mm | Thyristor/Diode | 240/85 | 4400.0 | 96.8 | 100.0 | 0.165
TT240N16SOF | https://www.infineon.com/dgdl/Infineon-TT240N16SOF-DS-v03_01-EN.pdf?fileId=5546d462636cc8fb0163910f30864124 | 1600 | 140 | Eco Block 34 mm | Thyristor/Diode | 240/85 | 4400.0 | 96.8 | 100.0 | 0.165
TD240N16SOF | https://www.infineon.com/dgdl/Infineon-TT240N16SOF-DS-v03_01-EN.pdf?fileId=5546d462636cc8fb0163910f30864124 | 1600 | 140 | Eco Block 34 mm | Thyristor/Diode | 240/85 | 4400.0 | 96.8 | 100.0 | 0.165
TD162N16KOF | https://www.infineon.com/dgdl/Infineon-TT162N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f789a4bb5 | 1600 | 125 | Power Block 34 mm | SCR / Diode Phase Control | 162/85 | 4400.0 | 97.0 | 150.0 | 0.2
TT162N16KOF | https://www.infineon.com/dgdl/Infineon-TT162N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f789a4bb5 | 1600 | 125 | Power Block 34 mm | SCR / SCR Phase Control | 162/85 | 4400.0 | 97.0 | 150.0 | 0.2
TT162N14KOF | https://www.infineon.com/dgdl/Infineon-TT162N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f789a4bb5 | 1400 | 125 | Power Block 34 mm | SCR / SCR Phase Control | 162/85 | 4400.0 | 97.0 | 150.0 | 0.2
TD162N14KOF | https://www.infineon.com/dgdl/Infineon-TT162N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f789a4bb5 | 1400 | 125 | Power Block 34 mm | SCR / Diode Phase Control | 162/85 | 4400.0 | 97.0 | 150.0 | 0.2
TT162N12KOF | https://www.infineon.com/dgdl/Infineon-TT162N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f789a4bb5 | 1200 | 125 | Power Block 34 mm | SCR / SCR Phase Control | 162/85 | 4400.0 | 97.0 | 150.0 | 0.2
TD162N12KOF | https://www.infineon.com/dgdl/Infineon-TT162N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f789a4bb5 | 1200 | 125 | Power Block 34 mm | SCR / Diode Phase Control | 162/85 | 4400.0 | 97.0 | 150.0 | 0.2
TD142N16KOF | https://www.infineon.com/dgdl/Infineon-TT142N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f77f54bb1 | 1600 | 125 | Power Block 34 mm | SCR / Diode Phase Control | 142/85 | 4100.0 | 84.0 | 150.0 | 0.22
TT180N16KOF | https://www.infineon.com/dgdl/Infineon-TT180N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f7ea04bea | 1600 | 130 | Power Block 34 mm | SCR / SCR Phase Control | 180/85 | 4100.0 | 84.0 | 150.0 | 0.2
TT142N16KOF | https://www.infineon.com/dgdl/Infineon-TT142N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f77f54bb1 | 1600 | 125 | Power Block 34 mm | SCR / SCR Phase Control | 142/85 | 4100.0 | 84.0 | 150.0 | 0.22
TD180N16KOF | https://www.infineon.com/dgdl/Infineon-TT180N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f7ea04bea | 1600 | 130 | Power Block 34 mm | SCR / Diode Phase Control | 180/85 | 4100.0 | 84.0 | 150.0 | 0.2
TT142N14KOF | https://www.infineon.com/dgdl/Infineon-TT142N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f77f54bb1 | 1400 | 125 | Power Block 34 mm | SCR / SCR Phase Control | 142/85 | 4100.0 | 84.0 | 150.0 | 0.22
TD142N14KOF | https://www.infineon.com/dgdl/Infineon-TT142N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f77f54bb1 | 1400 | 125 | Power Block 34 mm | SCR / Diode Phase Control | 142/85 | 4100.0 | 84.0 | 150.0 | 0.22
TD142N12KOF | https://www.infineon.com/dgdl/Infineon-TT142N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f77f54bb1 | 1200 | 125 | Power Block 34 mm | SCR / Diode Phase Control | 142/85 | 4100.0 | 84.0 | 150.0 | 0.22
TT180N12KOF | https://www.infineon.com/dgdl/Infineon-TT180N-DS-v02_00-en_de.pdf?fileId=db3a304412b407950112b42f7ea04bea | 1200 | 130 | Power Block 34 mm | SCR / SCR Phase Control | 180/85 | 4100.0 | 84.0 | 150.0 | 0.2
TT142N12KOF | https://www.infineon.com/dgdl/Infineon-TT142N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f77f54bb1 | 1200 | 125 | Power Block 34 mm | SCR / SCR Phase Control | 142/85 | 4100.0 | 84.0 | 150.0 | 0.22
DT142N12KOF | https://www.infineon.com/dgdl/Infineon-TT142N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42f77f54bb1 | 1200 | 125 | Power Block 34 mm | Diode / SCR Phase Control | 142/85 | 4100.0 | 84.0 | 150.0 | 0.22
DD175N34K | https://www.infineon.com/dgdl/Infineon-DD175N-DS-v03_00-EN.pdf?fileId=db3a304412b407950112b43062595032 | 3400 | 150 | Power Block 50 mm | Rectifier Diode | 175/100 | 4000.0 | 80.0 | - | 0.17
DD175N32K | https://www.infineon.com/dgdl/Infineon-DD175N-DS-v03_00-EN.pdf?fileId=db3a304412b407950112b43062595032 | 3200 | 150 | Power Block 50 mm | Rectifier Diode | 175/100 | 4000.0 | 80.0 | - | 0.17
DD175N30K | https://www.infineon.com/dgdl/Infineon-DD175N-DS-v03_00-EN.pdf?fileId=db3a304412b407950112b43062595032 | 3000 | 150 | Power Block 50 mm | Rectifier Diode | 175/100 | 4000.0 | 80.0 | - | 0.17
TZ150N26KOF | https://www.infineon.com/dgdl/Infineon-TZ150N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f845c4c01 | 2600 | 125 | Power Block 50 mm | Single SCR Phase Control | 150/85 | 4000.0 | 101.0 | 60.0 | 0.13
TT150N26KOF | https://www.infineon.com/dgdl/Infineon-TT150N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fdfff4e18 | 2600 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 150/85 | 4000.0 | 80.0 | 60.0 | 0.13
TD150N26KOF | https://www.infineon.com/dgdl/Infineon-TT150N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fdfff4e18 | 2600 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 150/85 | 4000.0 | 80.0 | 60.0 | 0.13
TD150N24KOF | https://www.infineon.com/dgdl/Infineon-TT150N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fdfff4e18 | 2400 | 125 | Power Block 50 mm | SCR / Diode Phase Control | 150/85 | 4000.0 | 80.0 | 60.0 | 0.13
TT150N22KOF | https://www.infineon.com/dgdl/Infineon-TT150N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fdfff4e18 | 2200 | 125 | Power Block 50 mm | SCR / SCR Phase Control | 150/85 | 4000.0 | 80.0 | 60.0 | 0.13
TD140N16SOF | https://www.infineon.com/dgdl/Infineon-TT140N-DS-v03_04-EN.pdf?fileId=5546d46148a8bbb90148d052319e2e66 | 1600 | 125 | Eco Block 34 mm | SCR / Diode Phase Control | 140/85 | 4000.0 | 80.0 | 200.0 | 0.19
TT140N16SOF | https://www.infineon.com/dgdl/Infineon-TT140N-DS-v03_04-EN.pdf?fileId=5546d46148a8bbb90148d052319e2e66 | 1600 | 125 | Eco Block 34 mm | SCR / SCR Phase Control | 140/85 | 4000.0 | 80.0 | 200.0 | 0.19
TT140N22KOF | https://www.infineon.com/dgdl/Infineon-TT140N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fdf404e14 | 2200 | 125 | Power Block 34 mm | SCR / SCR Phase Control | 140/85 | 3200.0 | 51.2 | 150.0 | 0.19
TD140N22KOF | https://www.infineon.com/dgdl/Infineon-TT140N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fdf404e14 | 2200 | 125 | Power Block 34 mm | SCR / Diode Phase Control | 140/85 | 3200.0 | 51.2 | 150.0 | 0.19
TD140N18KOF | https://www.infineon.com/dgdl/Infineon-TT140N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fdf404e14 | 1800 | 125 | Power Block 34 mm | SCR / Diode Phase Control | 140/85 | 3200.0 | 51.2 | 150.0 | 0.19
TT140N18KOF | https://www.infineon.com/dgdl/Infineon-TT140N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fdf404e14 | 1800 | 125 | Power Block 34 mm | SCR / SCR Phase Control | 140/85 | 3200.0 | 51.2 | 150.0 | 0.19
TD122N24KOF | https://www.infineon.com/dgdl/Infineon-TT122N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fde7a4e10 | 2400 | 125 | Power Block 34 mm | SCR / Diode Phase Control | 122/85 | 2950.0 | 43.5 | 100.0 | 0.2
TD122N22KOF | https://www.infineon.com/dgdl/Infineon-TT122N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fde7a4e10 | 2200 | 125 | Power Block 34 mm | SCR / Diode Phase Control | 122/85 | 2950.0 | 43.5 | 100.0 | 0.2
TT122N22KOF | https://www.infineon.com/dgdl/Infineon-TT122N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fde7a4e10 | 2200 | 125 | Power Block 34 mm | SCR / SCR Phase Control | 122/85 | 2950.0 | 43.5 | 100.0 | 0.2
TT122N18KOF | https://www.infineon.com/dgdl/Infineon-TT122N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fde7a4e10 | 1800 | 125 | Power Block 34 mm | SCR / SCR Phase Control | 122/85 | 2950.0 | 43.5 | 100.0 | 0.2
DD104N18K | https://www.infineon.com/dgdl/Infineon-DD104N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fba514d3e | 1800 | 150 | Power Block 20 mm | Rectifier Diode | 104/100 | 2500.0 | 31.25 | - | 0.39
ND104N18K | https://www.infineon.com/dgdl/Infineon-DD104N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fba514d3e | 1800 | 150 | Power Block 20 mm | Single Rectifier Diode | 104/100 | 2500.0 | 31.25 | - | 0.39
ND104N16K | https://www.infineon.com/dgdl/Infineon-DD104N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fba514d3e | 1600 | 150 | Power Block 20 mm | Single Rectifier Diode | 104/100 | 2500.0 | 31.25 | - | 0.39
DD104N16K | https://www.infineon.com/dgdl/Infineon-DD104N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fba514d3e | 1600 | 150 | Power Block 20 mm | Rectifier Diode | 104/100 | 2500.0 | 31.25 | - | 0.39
DD104N14K | https://www.infineon.com/dgdl/Infineon-DD104N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fba514d3e | 1400 | 150 | Power Block 20 mm | Rectifier Diode | 104/100 | 2500.0 | 31.25 | - | 0.39
DD104N12K | https://www.infineon.com/dgdl/Infineon-DD104N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fba514d3e | 1200 | 150 | Power Block 20 mm | Rectifier Diode | 104/100 | 2500.0 | 31.25 | - | 0.39
ND104N12K | https://www.infineon.com/dgdl/Infineon-DD104N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fba514d3e | 1200 | 150 | Power Block 20 mm | Single Rectifier Diode | 104/100 | 2500.0 | 31.25 | - | 0.39
DD89N18K | https://www.infineon.com/dgdl/Infineon-DD89N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fb9c84d3a | 1800 | 150 | Power Block 20 mm | Rectifier Diode | 89/100 | 2400.0 | 28.8 | - | 0.45
DD89N16K | https://www.infineon.com/dgdl/Infineon-DD89N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fb9c84d3a | 1600 | 150 | Power Block 20 mm | Rectifier Diode | 89/100 | 2400.0 | 28.8 | - | 0.45
ND89N16K | https://www.infineon.com/dgdl/Infineon-DD89N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fb9c84d3a | 1600 | 150 | Power Block 20 mm | Single Rectifier Diode | 89/100 | 2400.0 | 28.8 | - | 0.45
DD89N14K | https://www.infineon.com/dgdl/Infineon-DD89N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fb9c84d3a | 1400 | 150 | Power Block 20 mm | Rectifier Diode | 89/100 | 2400.0 | 28.8 | - | 0.45
ND89N12K | https://www.infineon.com/dgdl/Infineon-DD89N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fb9c84d3a | 1200 | 150 | Power Block 20 mm | Single Rectifier Diode | 89/100 | 2400.0 | 28.8 | - | 0.45
DD89N12K | https://www.infineon.com/dgdl/Infineon-DD89N-DS-v01_00-en_de.pdf?fileId=db3a304412b407950112b42fb9c84d3a | 1200 | 150 | Power Block 20 mm | Rectifier Diode | 89/100 | 2400.0 | 28.8 | - | 0.45
DD98N25K | https://www.infineon.com/dgdl/Infineon-DD98N25K-DS-v03_02-EN.pdf?fileId=db3a304412b407950112b42f9e664c90 | 2500 | 150 | Power Block 20 mm | Rectifier Diode | 98/100 | 2000.0 | 20.0 | - | 0.39
DD98N24K | https://www.infineon.com/dgdl/Infineon-DD98N25K-DS-v03_02-EN.pdf?fileId=db3a304412b407950112b42f9e664c90 | 2400 | 150 | Power Block 20 mm | Rectifier Diode | 98/100 | 2000.0 | 20.0 | - | 0.39
DD98N22K | https://www.infineon.com/dgdl/Infineon-DD98N25K-DS-v03_02-EN.pdf?fileId=db3a304412b407950112b42f9e664c90 | 2200 | 150 | Power Block 20 mm | Rectifier Diode | 98/100 | 2000.0 | 20.0 | - | 0.39
DD98N20K | https://www.infineon.com/dgdl/Infineon-DD98N25K-DS-v03_02-EN.pdf?fileId=db3a304412b407950112b42f9e664c90 | 2000 | 150 | Power Block 20 mm | Rectifier Diode | 98/100 | 2000.0 | 20.0 | - | 0.39
DD100N16S | https://www.infineon.com/dgdl/Infineon-DD100N16S-DS-v03_02-EN.pdf?fileId=5546d46148a8bbb90148d043251d2df4 | 1600 | 130 | Eco Block 20 mm | Rectifier Diode | 134/100 | 2000.0 | 20.0 | - | 0.2
TD120N16SOF | https://www.infineon.com/dgdl/Infineon-TT120N-DS-v03_05-EN.pdf?fileId=5546d46148a8bbb90148d04e762d2e47 | 1600 | 130 | Eco Block 20 mm | SCR / Diode Phase Control | 119/85 | 1900.0 | 18.05 | 140.0 | 0.2
TT120N16SOF | https://www.infineon.com/dgdl/Infineon-TT120N-DS-v03_05-EN.pdf?fileId=5546d46148a8bbb90148d04e762d2e47 | 1600 | 130 | Eco Block 20 mm | SCR / SCR Phase Control | 119/85 | 1900.0 | 18.05 | 140.0 | 0.2
DD81S14K | https://www.infineon.com/dgdl/Infineon-DD81S-DS-v01_01-en_de.pdf?fileId=db3a304412b407950112b42f726e4b7f | 1400 | 150 | Power Block 20 mm | Fast Diodes | 81/100 | 1900.0 | 18.1 | - | 0.47
DD82S10K | https://www.infineon.com/dgdl/Infineon-DD82S-DS-v01_01-en_de.pdf?fileId=db3a304412b407950112b42f72db4b83 | 1000 | 150 | Power Block 20 mm | Fast Diodes | 81/100 | 1900.0 | 18.1 | - | 0.47
TT92N16KOF | https://www.infineon.com/dgdl/Infineon-TT92N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f75684ba1 | 1600 | 130 | Power Block 20 mm | SCR / SCR Phase Control | 92/85 | 1800.0 | 16.2 | 150.0 | 0.37
TD92N16KOF | https://www.infineon.com/dgdl/Infineon-TT92N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f75684ba1 | 1600 | 130 | Power Block 20 mm | SCR / Diode Phase Control | 92/85 | 1800.0 | 16.2 | 150.0 | 0.37
DT92N16KOF | https://www.infineon.com/dgdl/Infineon-TT92N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f75684ba1 | 1600 | 130 | Power Block 20 mm | Diode / SCR Phase Control | 92/85 | 1800.0 | 16.2 | 150.0 | 0.37
TT104N14KOF | https://www.infineon.com/dgdl/Infineon-TT104N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f760f4ba5 | 1400 | 130 | Power Block 20 mm | SCR / SCR Phase Control | 104/85 | 1800.0 | 16.2 | 150.0 | 0.37
TT92N14KOF | https://www.infineon.com/dgdl/Infineon-TT92N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f75684ba1 | 1400 | 130 | Power Block 20 mm | SCR / SCR Phase Control | 92/85 | 1800.0 | 16.2 | 150.0 | 0.37
TD92N14KOF | https://www.infineon.com/dgdl/Infineon-TT92N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f75684ba1 | 1400 | 130 | Power Block 20 mm | SCR / Diode Phase Control | 92/85 | 1800.0 | 16.2 | 150.0 | 0.37
TD104N14KOF | https://www.infineon.com/dgdl/Infineon-TT104N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f760f4ba5 | 1400 | 140 | Power Block 20 mm | SCR / Diode Phase Control | 104/85 | 1800.0 | 16.2 | 150.0 | 0.37
TD104N12KOF | https://www.infineon.com/dgdl/Infineon-TT104N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f760f4ba5 | 1200 | 140 | Power Block 20 mm | SCR / Diode Phase Control | 104/85 | 1800.0 | 16.2 | 150.0 | 0.37
TT92N12KOF | https://www.infineon.com/dgdl/Infineon-TT92N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f75684ba1 | 1200 | 130 | Power Block 20 mm | SCR / SCR Phase Control | 92/85 | 1800.0 | 16.2 | 150.0 | 0.37
TD92N12KOF | https://www.infineon.com/dgdl/Infineon-TT92N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f75684ba1 | 1200 | 130 | Power Block 20 mm | SCR / Diode Phase Control | 92/85 | 1800.0 | 16.2 | 150.0 | 0.37
TT104N12KOF | https://www.infineon.com/dgdl/Infineon-TT104N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f760f4ba5 | 1200 | 130 | Power Block 20 mm | SCR / SCR Phase Control | 104/85 | 1800.0 | 16.2 | 150.0 | 0.37
DD61S14K | https://www.infineon.com/dgdl/Infineon-DD61S14K-DS-v03_01-EN.pdf?fileId=db3a304412b407950112b42f71284b77 | 1400 | 150 | Power Block 20 mm | Fast Diodes | 61/100 | 1600.0 | 12.8 | - | 0.61
DT61N16KOF | https://www.infineon.com/dgdl/Infineon-TT61N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f76a84ba9 | 1600 | 125 | Power Block 20 mm | Diode / SCR Phase Control | 60/85 | 1400.0 | 9.8 | 150.0 | 0.52
TD61N16KOF | https://www.infineon.com/dgdl/Infineon-TT61N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f76a84ba9 | 1600 | 125 | Power Block 20 mm | SCR / Diode Phase Control | 60/85 | 1400.0 | 9.8 | 150.0 | 0.52
TT61N16KOF | https://www.infineon.com/dgdl/Infineon-TT61N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f76a84ba9 | 1600 | 125 | Power Block 20 mm | SCR / SCR Phase Control | 60/85 | 1400.0 | 9.8 | 150.0 | 0.52
TD61N14KOF | https://www.infineon.com/dgdl/Infineon-TT61N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f76a84ba9 | 1400 | 125 | Power Block 20 mm | SCR / Diode Phase Control | 60/85 | 1400.0 | 9.8 | 150.0 | 0.52
TT61N14KOF | https://www.infineon.com/dgdl/Infineon-TT61N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f76a84ba9 | 1400 | 125 | Power Block 20 mm | SCR / SCR Phase Control | 60/85 | 1400.0 | 9.8 | 150.0 | 0.52
TD61N12KOF | https://www.infineon.com/dgdl/Infineon-TT61N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f76a84ba9 | 1200 | 125 | Power Block 20 mm | SCR / Diode Phase Control | 60/85 | 1400.0 | 9.8 | 150.0 | 0.52
TT61N12KOF | https://www.infineon.com/dgdl/Infineon-TT61N-DS-v03_00-en_de.pdf?fileId=db3a304412b407950112b42f76a84ba9 | 1200 | 125 | Power Block 20 mm | SCR / SCR Phase Control | 60/85 | 1400.0 | 9.8 | 150.0 | 0.52
TD60N16SOF | https://www.infineon.com/dgdl/Infineon-TT60N-DS-v03_04-EN.pdf?fileId=5546d46148a8bbb90148d04a8e952e26 | 1600 | 130 | Eco Block 20 mm | SCR / Diode Phase Control | 55/85 | 1200.0 | 7.2 | 140.0 | 0.49
TT60N16SOF | https://www.infineon.com/dgdl/Infineon-TT60N-DS-v03_04-EN.pdf?fileId=5546d46148a8bbb90148d04a8e952e26 | 1600 | 130 | Eco Block 20 mm | SCR / SCR Phase Control | 55/85 | 1200.0 | 7.2 | 140.0 | 0.49
TT60N16SOFB01 | https://www.infineon.com/dgdl/Infineon-TT60N-DS-v03_04-EN.pdf?fileId=5546d46148a8bbb90148d04a8e952e26 | 1600 | 130 | Eco Block 20 mm | SCR / SCR Phase Control | - | 1200.0 | 7.2 | 140.0 | 0.49
DD46S12K | https://www.infineon.com/dgdl/Infineon-DD46S-DS-v01_01-en_de.pdf?fileId=db3a304412b407950112b42f6faf4b73 | 1200 | 125 | Power Block 20 mm | Fast Diodes | 45/85 | 850.0 | 3.6 | - | 0.64
TT120N16SOFB01 | https://www.infineon.com/dgdl/Infineon-TT120N-DS-v03_05-EN.pdf?fileId=5546d46148a8bbb90148d04e762d2e47 | 1600 | 130 | Eco Block 20 mm | SCR / SCR Phase Control | - | - | 18.05 | 140.0 | 0.2